# Approval Note

## Background

A routine boiler pressure inspection was conducted for Boiler Unit B-07.

## Observations

The recorded operating pressure was 13.2 bar. The inspection record was reviewed.

## Non-Conformities

The reading exceeds the 12 bar routine-operation limit specified under SOP-101, Clause 4.2.

## Recommendation

Escalate the deviation to the shift engineer and carry out a pressure-control system inspection before further operation.

Generated locally by Sovereign AI Workbench